## Cover
GridMats® Solar Walkway
Pilot and rollout cost-benefit model
Prepared for | Reliance Jio Infocomm Limited
Site | Reliance Corporate Park (TC-22), Ghansoli, Navi Mumbai, Maharashtra
Date / prepared by | October 2026 · GridMats (GroundReality Enterprises Pvt. Ltd.)
Scenario | Base
Headline results
Pilot
Pilot area (m²) / rated power (kWp) | 25 m² · 4.0 kWp
Generation in year 1 (kWh) | 5171.3563
Client pays, ex-GST (₹) | 325774.5833
GridMats contribution (₹) | 454666.6667
Pilot payback on the client's outlay (years) | 6.9303
Campus rollout
Rollout area (m²) | 1000
Installed cost (₹/sq ft) | 1859.9625
Simple payback (years) | 9.5537
IRR over 20 years | 9.212%
Comparison (same footprint)
Payback: walkway / rooftop / paver walkway + rooftop (years) | 11.3 / 2.8 / 3.3
How to use this template
1. For a new client, change the yellow cells on 'Client' (or build from clients/<id>.json with build/build.sh). Nothing else needs editing.
2. GridMats product prices and assumptions sit on 'Product & Costs'. Unit costs, margin and the cost-plus price build-up sit on 'Cost Build-up': internal, remove before sending to a client.
3. Pick the sunshine profile on 'Client'; replace the city row on 'Irradiance' with site data after the site assessment.
4. Blue = input · yellow fill = key assumption to confirm · black = formula · green = link to another sheet.
5. All money in ₹, ex-GST unless stated. The Solar Walkway is pre-commercial: yield, life and upkeep are estimates the pilot measures.

## Client
Client and site: Reliance Jio
Everything that changes from one client to the next is on this sheet. Yellow cells are the ones to confirm first.
Item | Unit | Value used | Conservative | Base | Optimistic | Source / note
Scenario used across the model |  | Base | Conservative | Base | Optimistic | Switches performance ratio and degradation on 'Product & Costs'.
Scenario index |  | 2
1. Client and site
Client (short name used on slides) | text | Reliance Jio |  |  |  | Shown on the cover and slides.
Client legal entity | text | Reliance Jio Infocomm Limited |  |  |  | Use the entity that will issue the PO.
Campus / site | text | Reliance Corporate Park (TC-22), Ghansoli |  |  |  | Confirm at the site walk.
City, state | text | Navi Mumbai, Maharashtra
Sunshine profile (city) | choice | Mumbai |  |  |  | Monthly sunshine from the 'Irradiance' sheet. Replace with site data after the site assessment.
Electricity supplier | text | MSEDCL
Tariff category | text | HT-II Commercial (assumed; confirm from the RCP electricity bill) |  |  |  | Confirm from the campus electricity bill.
2. Power price and site losses
Grid power cost avoided, year 1 (landed) | ₹ / kWh | 10 |  |  |  | Avoided daytime cost on MSEDCL HT-II Commercial: energy + wheeling after the solar-hour ToD rebate (MERC order, 25 Mar 2026). About ₹7.1 if the campus is billed HT-I industrial.
Power tariff escalation | % / yr | 3% |  |  |  | Assumption.
Site shading loss (trees, buildings) | % | 5% |  |  |  | Assumption until the site assessment measures it.
3. Pilot and rollout size
Build type | choice | New walkway |  |  |  | 'New walkway' builds the base and credits the paver walkway it replaces; 'Overlay on existing paving' levels the existing path and adds edge ramps.
Soil strength under the walkway: soaked CBR | % | 5 |  |  |  | ASSUMED for this estimate: Navi Mumbai fill and marine clay are often below 8. Confirm with a soaked CBR test at the site walk; at 8 or more the WMM layer drops from 100 mm to 50 mm.
Pilot walkway length | m | 12.5 |  |  |  | Pilots are 20-25 m².
Pilot walkway width | m | 2
Pilot area | m² | 25 |  |  |  | Length × width.
Phase 2 area (after the pilot) | m² | 250 |  |  |  | Illustrative.
Campus rollout area | m² | 1000 |  |  |  | Used on 'Rollout Economics' and 'Comparison'.
Portfolio area | m² | 5000 |  |  |  | Jio offices and EV-charging walkways (illustrative)
4. Commercial and finance
GridMats co-funding of the pilot PV layer | % | 50% |  |  |  | Pilot offer. Needs MD approval per pilot.
Discount rate | % | 10% |  |  |  | Client hurdle rate; 10% if not given.
Client income-tax rate | % | 25.17% |  |  |  | Section 115BAA rate; used for the after-tax view.
Evaluation period before the rollout decision | months | 3 |  |  |  | Earlier Jio proposal letter: 3-month pilot evaluation.
Monitoring period | months | 12 |  |  |  | Covers one monsoon.
Proposal date | text | October 2026
Prepared by | text | GridMats (GroundReality Enterprises Pvt. Ltd.)

## Product & Costs
GridMats Solar Walkway: product and cost assumptions
Standard GridMats inputs, the same for every client. ₹ shown per sq ft first, then per m², ex-GST.
Assumption | Unit | Value used | Conservative | Base | Optimistic | Source / note
1. Product: module technology and rated power
Cell technology of the walkable module | choice | TOPCon (n-type) |  |  |  | Pick from the 'Module Tech' library. Drives temperature loss and degradation; confirm with the module supplier's datasheet.
Rated-power basis | choice | Design basis (40 W per module) |  |  |  | Design basis = the MD-approved 40 W per module. 'Technology-derived' rates the module from its cell technology (upgrade path, to be validated).
Design-basis module rated power | Wp | 40 |  |  |  | GridMats Solar Walkway flier (6 Oct 2026) and Client/Partner Deck v2.
Modules per m² of walkway (one on each 500 × 500 mm grid) | nos / m² | 4 |  |  |  | Flier (6 Oct 2026): 4 grids per m².
Module length | mm | 550 |  |  |  | Client/Partner Deck v2.
Module width | mm | 400 |  |  |  | Client/Partner Deck v2.
Module area | m² | 0.22 |  |  |  | Length × width.
Cell efficiency, mass production (selected technology) | % | 25.8% |  |  |  | From 'Module Tech'.
Standard module efficiency (selected technology) | % | 23.5% |  |  |  | From 'Module Tech'.
Temperature coefficient of power | % / °C | -0.29% |  |  |  | From 'Module Tech'.
First-year degradation | % | 1% |  |  |  | From 'Module Tech'.
Annual degradation after year 1 | % / yr | 0.4% |  |  |  | From 'Module Tech'.
Walk-on build loss vs a standard module (thick textured glass, lower cell packing) | % | 15% |  |  |  | Assumption for the technology-derived rating. The 40 W design basis implies about 23% on a 23.5% TOPCon module.
Technology-derived module rating | Wp | 43.945 |  |  |  | Module area × efficiency × (1 − walk-on loss).
Module rated power used | Wp | 40 |  |  |  | Per the rated-power basis above.
Rated power of the walkway | Wp / m² | 160 |  |  |  | About 160 W/m² on the design basis (flier, 6 Oct 2026).
Walkway module efficiency (check) | % | 18.18% |  |  |  | Wp ÷ (module area × 1,000 W/m²).
Surface efficiency of the walkway | % | 16% |  |  |  | Flier: 15-16% surface efficiency.
2. Performance: loss stack for flat, walk-on modules
Irradiance-weighted cell temperature on the walkway | °C | 52 | 60 | 52 | 45 | Assumption. Pavement-integrated PV runs about 20 °C hotter than open-rack; GridMats' 50 mm gaps ventilate the modules.
Temperature loss | % | 7.83% |  |  |  | −temperature coefficient × (cell temperature − 25 °C).
Soiling (flat surface, foot traffic; monthly cleaning) | % | 8% | 15% | 8% | 4% | Horizontal modules soil about twice as fast as tilted ones; annual losses of 5-18% reported without frequent cleaning.
Shading by people walking on it | % | 4% | 8% | 4% | 2% | Assumption; depends on footfall at the chosen walkway.
Reflection and angle losses (flat, textured glass) | % | 3% | 5% | 3% | 2% | Assumption.
Mismatch and DC wiring | % | 3% | 4% | 3% | 2% | Assumption.
Inverter | % | 3.5% | 4% | 3.5% | 2.5% | Assumption.
Availability | % | 1% | 3% | 1% | 0.5% | Assumption.
Performance ratio (product of the losses above) | % | 73.17% |  |  |  | Earlier ROI model used a flat 78% (tilted C&I). Field results for road- and walk-integrated PV have been about half of rooftop yield per m²; the conservative case reflects that.
Extra degradation from walk-on use | % / yr | 0.2% | 0.4% | 0.2% | 0.1% | Assumption.
First-year degradation used | % | 1% |  |  |  | Selected technology.
Annual degradation used (technology + walk-on wear) | % / yr | 0.6% |  |  |  | Selected technology plus wear.
Analysis horizon and module life | years | 20 |  |  |  | Earlier ROI model: 20 years. Tables are built for 20 years.
Inverter replacement | ₹ / kWp | 4000 |  |  |  | Assumption.
Inverter replacement year | year | 12 |  |  |  | Assumption.
Annual O&M (cleaning, inspection, minor repairs) | % of capex / yr | 1.5% |  |  |  | Earlier ROI model.
3. Other prices and costs (ex-GST). PV-layer, electrical and labour prices are built up from actual unit costs on 'Cost Build-up'
Rollout prices (volume cost-down, project management) apply from | m² | 500 |  |  |  | Assumption.
GridMats OC-LW 40 base grid, under 1,000 m² | ₹ / m² | 690 |  |  |  | GridMats published price ladder (25 Sep 2026): ₹64/sq ft. Cost is ₹125 per grid (₹500/m²): see 'Cost Build-up'.
GridMats OC-LW 40, 1,000-2,500 m² | ₹ / m² | 650 |  |  |  | ₹60/sq ft.
GridMats OC-LW 40, 2,500-5,000 m² | ₹ / m² | 620 |  |  |  | ₹58/sq ft.
GridMats OC-LW 40, 5,000 m² and above | ₹ / m² | 590 |  |  |  | ₹55/sq ft.
Soaked CBR below which the thicker WMM layer is used | % | 8 |  |  |  | GridMats base specification (7 Oct 2026): CBR under 8 → 100 mm WMM; 8 or more → 50 mm WMM, on well-compacted soil.
Wet mix macadam (WMM) thickness used | mm | 100 |  |  |  | From the site's soaked CBR on 'Client'.
Subgrade preparation: level, proof-roll and compact to 95-97% MDD | ₹ / m² | 60 |  |  |  | Design Engine 73 unit rate.
Geotextile fabric (non-woven, laid on the compacted subgrade) | ₹ / m² | 55 |  |  |  | ASSUMPTION: supply and lay of 200 gsm non-woven geotextile, with overlaps. Confirm the local rate.
Wet mix macadam, supplied, laid and rolled | ₹ / m³ | 2000 |  |  |  | ASSUMPTION: replaces the ₹1,600/m³ GSB rate in Design Engine 73. Confirm the local rate.
M-sand bedding thickness | mm | 20 |  |  |  | Design Engine 73 (20 mm bedding).
M-sand bedding, supplied and screeded | ₹ / m³ | 1800 |  |  |  | Design Engine 73 unit rate (₹36/m² at 20 mm).
Edge restraint | ₹ / m² | 12 |  |  |  | Design Engine 73 unit rate.
New-walkway base works: subgrade, geotextile, WMM, M-sand bedding, edges | ₹ / m² | 363 |  |  |  | Sum of the lines above: ₹363/m² on soft soil (100 mm WMM); ₹263/m² otherwise (50 mm WMM) at the rates shown.
Overlay on existing paving (levelling, edge ramps) | ₹ / m² | 150 |  |  |  | Assumption.
Grid integration and metering, per connection point | ₹ | 25000 |  |  |  | Earlier ROI model (pilot scale).
kWp per connection point at rollout | kWp | 50 |  |  |  | Assumption.
Logistics and freight | % of hardware | 5% |  |  |  | Earlier ROI model.
Paver / concrete walkway it replaces (new build only) | ₹ / m² | 1200 |  |  |  | Earlier ROI model: ₹800-1,500/m² range.
4. Pilot services (valued; offered free in the pilot)
Site assessment, shading study and engineering | ₹ | 40000 |  |  |  | Estimate of value.
GridMats supervision and training on site | days | 3 |  |  |  | Standard: up to 3 days.
Supervisor man-day rate | ₹ / day | 15000 |  |  |  | GridMats standard rate.
Supervisor travel and stay | ₹ | 40000 |  |  |  | Estimate; normally paid by the client.
IoT sensors, live dashboard and performance study for the monitoring period | ₹ | 125000 |  |  |  | Estimate of value: module-temperature and moisture sensors, reference cell, energy meter and logger, dashboard, reports.
5. Comparison benchmarks
C&I rooftop solar, all-in | ₹ / Wp | 40 |  |  |  | Earlier ROI model cost stack (₹35-45/Wp).
Rooftop / carport panel output per m² of panel | Wp / m² | 190 |  |  |  | 19% efficient panels (earlier ROI model).
Rooftop / carport performance ratio | % | 78% |  |  |  | Earlier ROI model.
Rooftop / carport annual degradation | % / yr | 0.4% |  |  |  | Same cell technology as the walkway, without walk-on wear.
Rooftop O&M | % of capex / yr | 1% |  |  |  | Earlier ROI model.
Solar carport / canopy, all-in | ₹ / Wp | 61 |  |  |  | Earlier ROI model (₹55-65/Wp).
Carport O&M | % of capex / yr | 1.2% |  |  |  | Earlier ROI model.
Conventional walkway maintenance | % of capex / yr | 2% |  |  |  | Earlier ROI model.
6. Tax and environment
GST on a solar walkway system (composite) | % | 8.9% |  |  |  | 5% on solar goods from 22 Sep 2025 (Notification 9/2025-CT(R)) on 70% of value + 18% on 30% services = 8.9%. Earlier model used 13.8%. Input tax credit on captive solar allowed per Gujarat AAR (Jan 2024); confirm for the client.
Accelerated depreciation on solar (WDV) | % | 40% |  |  |  | Income-tax Act: 40% WDV.
India grid emission factor | t CO2 / MWh | 0.71 |  |  |  | CEA CO2 Baseline Database v21.0 (FY2024-25).
Recycled PP in the OC-LW 40 base | kg / m² | 4 |  |  |  | GridMats master data.

## Cost Build-up
Cost build-up: GridMats internal. Remove this sheet before sending the workbook to a client
Starts from GridMats' actual unit costs per 40 W piece, adds what those costs leave out, and builds the client price. Margin is shown on this sheet only.
Item | Unit | Value used | Conservative | Base | Optimistic | Source / note
1. GridMats actual material cost per 40 W piece (one piece on each 500 × 500 mm grid)
Solar module, 40 W (550 × 400 mm) | ₹ / piece | 1200 |  |  |  | GridMats actual cost (7 Oct 2026). Excludes margin, labour, wiring, inverter and management.
12 mm toughened glass | ₹ / piece | 1600 |  |  |  | GridMats actual cost (7 Oct 2026).
GridMats OC-LW 40 base grid | ₹ / piece | 125 |  |  |  | GridMats actual cost (7 Oct 2026). Sold at the published ladder price, not at cost-plus.
MLP lumber (40 × 40 mm recycled) | ₹ / piece | 150 |  |  |  | GridMats actual cost (7 Oct 2026).
Material cost per piece | ₹ / piece | 3075 |  |  |  | Sum of the four lines above.
Material cost per m² of walkway | ₹ / m² | 12300 |  |  |  | Pieces per m² × material cost per piece.
Material cost per sq ft | ₹ / sq ft | 1142.7085
Material cost per Wp | ₹ / Wp | 76.875 |  |  |  | Rooftop solar is about ₹40/Wp all-in, so the walkway's material cost alone is about twice that.
2. Not in the material cost. ASSUMPTIONS to confirm before quoting
DC wiring, connectors and earthing | ₹ / piece | 120 |  |  |  | ASSUMPTION: module leads, MC4 connectors, string cabling inside the lumber. About ₹3/Wp.
Inverter, combiner, protection and metering | ₹ / Wp | 5 |  |  |  | ASSUMPTION. Wiring ₹3 + inverter ₹5 = ₹8/Wp, the earlier ROI model's whole electrical BOS.
Assembly and installation labour | ₹ / piece | 150 |  |  |  | ASSUMPTION: bonding or fixing the glass, placing in the lumber, wiring, laying, commissioning. ₹600/m² against ₹300/m² in the earlier ROI model.
Project management, QA and overhead at rollout | % of direct cost | 8% |  |  |  | ASSUMPTION. Applied to the PV layer, electrical and labour at rollout. In the pilot these are the valued service lines in section 4 of 'Product & Costs'.
GridMats gross margin | % of selling price | 25% |  |  |  | ASSUMPTION. The OC-LW 40 ladder price of ₹690/m² against ₹500 cost implies 27.5% on the base grid.
Cost-down on module, glass and lumber at rollout volume | % of today's cost | 10% | 0% | 10% | 20% | ASSUMPTION. Today's costs are pilot-lot costs. Conservative: none. Applies from the rollout threshold on 'Product & Costs'.
Margin the ladder price earns on the base grid (check) | % | 27.54% |  |  |  | 1 − cost ÷ ladder price (under 1,000 m²).
3. Price factors and the PV-layer, electrical and labour prices that feed the model
Price factor, pilot: cost → price | × | 1.3333 |  |  |  | Price = cost ÷ (1 − margin).
Price factor, rollout: cost → price | × | 1.44 |  |  |  | Price = cost × (1 + management) ÷ (1 − margin).
Rollout area is at or above the volume threshold (1 = yes) | flag | 1 |  |  |  | Threshold on 'Product & Costs'.
Volume cost-down applied at the rollout area | % | 10%
Price factor applied at the rollout area | × | 1.44
PV layer, pilot: modules + glass price | ₹ / m² | 14933.3333 |  |  |  | Feeds 'Pilot BoQ'.
PV layer, pilot: MLP lumber + wiring price | ₹ / m² | 1440 |  |  |  | Feeds 'Pilot BoQ'.
PV layer, pilot price | ₹ / m² | 16373.3333 |  |  |  | Module, glass, lumber and wiring.
PV layer, rollout price | ₹ / m² | 15984 |  |  |  | After the volume cost-down and management.
Electrical, pilot price | ₹ / Wp | 6.6667
Electrical, rollout price | ₹ / Wp | 7.2
Installation labour, pilot price | ₹ / m² | 800
Installation labour, rollout price | ₹ / m² | 864
PV layer, pilot price per sq ft | ₹ / sq ft | 1521.1339 |  |  |  | ₹ per sq ft first.
PV layer, rollout price per sq ft | ₹ / sq ft | 1484.9636
4. Where the money goes (₹ per m² of walkway): GridMats cost against client price
Component | Unit | Pilot: cost | Pilot: price | Rollout: cost | Rollout: price | Note
Solar module | ₹ / m² | 4800 | 6400 | 4320 | 6220.8 | Priced with the PV layer.
12 mm toughened glass | ₹ / m² | 6400 | 8533.3333 | 5760 | 8294.4
MLP lumber | ₹ / m² | 600 | 800 | 540 | 777.6
DC wiring and connectors | ₹ / m² | 480 | 640 | 480 | 691.2
GridMats OC-LW 40 base grid | ₹ / m² | 500 | 690 | 500 | 650 | Sold at the published ladder price.
Inverter, combiner, protection | ₹ / m² | 800 | 1066.6667 | 800 | 1152
Installation labour | ₹ / m² | 600 | 800 | 600 | 864
Base works (subgrade, geotextile, WMM, M-sand bedding, edges) | ₹ / m² | 363 | 363 | 363 | 363 | Passed through at cost. WMM thickness follows the site CBR.
Logistics and freight | ₹ / m² | 697.15 | 924.65 | 638.15 | 907.45 | % of hardware, on cost for the cost columns and on price for the price columns.
Grid integration and metering | ₹ / m² | 1000 | 1000 | 100 | 100 | Passed through at cost.
Project management and overhead | ₹ / m² | 0 | 0 | 1000 | 0 | Rollout only; in the pilot it is the valued service lines. Included in the rollout prices above.
Total per m² |  | 16240.15 | 21217.65 | 15101.15 | 20020.45
GridMats margin (₹ / m²) |  |  | 4977.5 |  | 4919.3
GridMats margin (% of price) |  |  | 23.46% |  | 24.57%
Price per sq ft |  |  | 1971.1861 |  | 1859.9625
Price per Wp (all-in, ex-services) |  |  | 132.6103 |  | 125.1278
Cost per Wp (GridMats) |  |  | 101.5009 |  | 94.3822
Check: price columns agree with 'Pilot BoQ' and 'Rollout Economics' |  |  | OK
5. GridMats' own money in the pilot
Hardware and installation at GridMats cost (₹) |  |  | 406003.75
Valued services given free: design, supervision, travel, IoT (₹) |  |  | 250000
Total pilot cost to GridMats (₹) |  |  | 656003.75
Client pays, ex-GST (₹) |  |  | 325774.5833
GridMats' net investment in the pilot (₹) |  |  | 330229.1667
6. What it takes for the campus rollout to pay back
Target payback for this view | years | 6 |  |  |  | ASSUMPTION: a common corporate hurdle for green capex. Change to the client's.
Year-1 electricity saving per m² of walkway | ₹ / m² | 2068.5425 |  |  |  | Rated power × specific yield × tariff.
Highest installed price that meets the target, net of the paver credit | ₹ / m² | 12487.3901 |  |  |  | Solves (price − credit) ÷ (saving − O&M × price) = target payback.
Rollout installed price now | ₹ / m² | 20020.45 |  |  |  | From 'Rollout Economics'.
Price reduction needed (negative = target already met) | % | 37.63%
PV-layer price that meets the target, other items unchanged | ₹ / m² | 8809.6572 |  |  |  | Backs the PV layer out of the installed price.
Module + glass + lumber cost per piece today | ₹ / piece | 2950 |  |  |  | Before any volume cost-down.
Module + glass + lumber cost per piece that meets the target | ₹ / piece | 1566.0604 |  |  |  | Holding wiring, electrical, labour, margin and management as assumed.
Cost reduction needed on module + glass + lumber | % | 46.91%
Cost-down path: rollout price and payback as module, glass and lumber cost falls
Cost vs today (before volume cost-down) | Per piece (₹) | Rollout installed (₹/sq ft) | Simple payback (yrs) | Net of paver credit (₹/sq ft)
100% | 2950 | 1859.9625 | 10.6436 | 1748.4787
90% | 2655 | 1710.7838 | 9.6047 | 1599.3001
80% | 2360 | 1561.6052 | 8.5933 | 1450.1214
70% | 2065 | 1412.4265 | 7.6084 | 1300.9428
60% | 1770 | 1263.2479 | 6.6489 | 1151.7641
50% | 1475 | 1114.0692 | 5.7139 | 1002.5855

## Module Tech
Module technology library (2026)
Pick the technology on 'Product & Costs'. TOPCon is now the mainstream cell; PERC is being phased out; Reliance makes HJT modules at Jamnagar.
| Technology | Cell efficiency (mass prod.) | Best cells (2026) | Module efficiency | Temp. coefficient (%/°C) | Year-1 degradation | Annual degradation | Module price, India (₹/Wp) | Notes | Sources
| Mono PERC (p-type) | 23.3% | Mature; no longer advancing | 21.2% | -0.35% | 2% | 0.5% | 13.8 | Being phased out; TOPCon premium over PERC has collapsed to about 0-10%. | JMK Research Apr 2026 (ex-works, 500 Wp); 2026 technology comparisons.
| TOPCon (n-type) | 25.8% | 26.66% industrial M10 cell (JinkoSolar, Feb 2026); 27.79% lab cell (ISFH-certified) | 23.5% | -0.29% | 1% | 0.4% | 14.2 | About two-thirds of global capacity; commercial modules 22.5-24.8%, best 25.91%. DCR TOPCon ₹22.3/Wp. | pv-magazine (25 Feb 2026); taiyangnews; Canadian Solar TOPHiKu6 and Jinko Tiger Neo datasheets (−0.29%/°C, 1% then 0.4%/yr); JMK Apr 2026.
| HJT (n-type) | 25.8% | Lowest temperature loss of the three | 24% | -0.25% | 1% | 0.3% | premium | Commercial modules 23-25%; price premium over TOPCon. Reliance produces HJT modules at Jamnagar. | 2026 technology comparisons (−0.24 to −0.26%/°C; 0.25-0.375%/yr).
What each technology means for this walkway (selected scenario; pilot size, same rated power)
| Technology | Temperature loss | Performance ratio | Specific yield (kWh/kWp/yr) | Pilot year-1 kWh | Pilot 20-year kWh | Technology-derived module (W) | Walkway W/m² (derived) | Reading
| Mono PERC (p-type) | 9.45% | 71.89% | 1270.1159 | 4978.8542 | 93225.2345 | 39.644 | 158.576 | PERC loses the most to heat on a hot, flat walkway.
| TOPCon (n-type) | 7.83% | 73.17% | 1292.8391 | 5119.6428 | 96761.3164 | 43.945 | 175.78 | TOPCon: the default. Lower heat loss and slower ageing than PERC at a similar price.
| HJT (n-type) | 6.75% | 74.03% | 1307.9879 | 5179.6321 | 98816.5233 | 44.88 | 179.52 | HJT: lowest heat loss; worth testing with Reliance's own Jamnagar cells.
Pilot year-1 kWh includes first-year degradation. The derived module rating is an upgrade path to be validated; the client price is quoted on the 40 W design basis.

## Irradiance
Sunshine library: monthly global horizontal irradiance (kWh/m²/day)
Pick the city on 'Client'. Values are typical-year climatology; replace with site data (Global Solar Atlas / NASA POWER) after the site walk.
| City | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | kWh/m²/yr | Avg / day | Source and confidence
| Days in month | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
| Mumbai | 4.8 | 5.6 | 6.3 | 6.7 | 6.7 | 4.6 | 3.7 | 3.8 | 4.5 | 5.1 | 4.8 | 4.6 | 1859.8 | 5.0953 | Calibrated to NASA-derived Navi Mumbai data (annual mean 5.16, Jan 4.74, Jul 3.68 kWh/m²/day) and Meteonorm 8.2 (1,814 kWh/m²/yr). Earlier ROI model: 5.3 average.
| Bengaluru | 5.4 | 6.2 | 6.6 | 6.5 | 6 | 4.8 | 4.3 | 4.6 | 5 | 4.8 | 4.6 | 4.9 | 1935.2 | 5.3019 | Indicative typical year.
| Chennai | 5 | 6 | 6.6 | 6.7 | 6.4 | 5.6 | 5.1 | 5.3 | 5.4 | 4.6 | 4 | 4.1 | 1969.1 | 5.3948 | Indicative typical year.
| Hyderabad | 5 | 5.8 | 6.4 | 6.7 | 6.6 | 5.2 | 4.5 | 4.6 | 4.9 | 4.9 | 4.7 | 4.6 | 1942 | 5.3205 | Indicative typical year.
| Delhi NCR | 3.6 | 4.6 | 5.8 | 6.7 | 7 | 6.4 | 5.4 | 5.1 | 5.3 | 4.9 | 4 | 3.4 | 1892 | 5.1836 | Indicative typical year.
| Pune | 5.2 | 6 | 6.6 | 6.8 | 6.7 | 4.8 | 3.8 | 4 | 4.7 | 5 | 4.9 | 4.8 | 1923.1 | 5.2688 | Indicative typical year.
| Ahmedabad | 4.6 | 5.4 | 6.3 | 6.9 | 7.1 | 6.2 | 4.8 | 4.6 | 5.4 | 5.3 | 4.6 | 4.3 | 1991.2 | 5.4553 | Indicative typical year.
| Jamnagar | 4.8 | 5.6 | 6.5 | 7 | 7.2 | 6.3 | 4.9 | 4.8 | 5.6 | 5.5 | 4.8 | 4.5 | 2052 | 5.6219 | Indicative typical year.
| Kolkata | 4.2 | 4.9 | 5.6 | 6.1 | 6 | 4.8 | 4.3 | 4.4 | 4.3 | 4.4 | 4.3 | 4 | 1742.1 | 4.7729 | Indicative typical year.

## Energy
Energy: what the walkway generates
Monthly generation for the pilot at the chosen city, after performance ratio and site shading.
Pilot size
Pilot area (m²) |  |  | 25
Modules |  |  | 100
Rated power (kWp) |  |  | 4
Sunshine profile |  |  | Mumbai
Month | Days | Sunshine (kWh/m²/day) | Sunshine (kWh/m²/month) | Pilot generation (kWh) | Per m² (kWh) | Per day (kWh)
Jan | 31 | 4.8 | 148.8 | 413.753 | 16.5501 | 13.3469
Feb | 28 | 5.6 | 156.8 | 435.9978 | 17.4399 | 15.5713
Mar | 31 | 6.3 | 195.3 | 543.0508 | 21.722 | 17.5178
Apr | 30 | 6.7 | 201 | 558.9002 | 22.356 | 18.63
May | 31 | 6.7 | 207.7 | 577.5302 | 23.1012 | 18.63
Jun | 30 | 4.6 | 138 | 383.7225 | 15.3489 | 12.7908
Jul | 31 | 3.7 | 114.7 | 318.9346 | 12.7574 | 10.2882
Aug | 31 | 3.8 | 117.8 | 327.5545 | 13.1022 | 10.5663
Sep | 30 | 4.5 | 135 | 375.3807 | 15.0152 | 12.5127
Oct | 31 | 5.1 | 158.1 | 439.6126 | 17.5845 | 14.1811
Nov | 30 | 4.8 | 144 | 400.4061 | 16.0162 | 13.3469
Dec | 31 | 4.6 | 142.6 | 396.5133 | 15.8605 | 12.7908
Year 1* | 365 |  | 1859.8 | 5171.3563 | 206.8543 | 14.1681
* Before first-year degradation; the cash-flow sheets apply it.
Key energy figures
Specific yield (kWh per kWp per year) |  |  | 1292.8391
Generation per m² per day, average (kWh) |  |  | 0.56672
Best month (kWh) |  |  | 577.5302
Weakest month (kWh) |  |  | 318.9346
CO2 avoided in year 1 (kg) |  |  | 3671.663
Recycled PP in the pilot base (kg) |  |  | 100

## Pilot BoQ
Pilot bill of quantities and offer
List = GridMats standard value. 'GridMats contributes' = what the pilot offer covers. Ex-GST unless stated.
Item | Qty | Unit | Rate (₹) | List value (₹) | GridMats contributes (₹) | Client pays (₹) | Note
Site assessment, shading study and engineering design | 1 | lot | 40000 | 40000 | 40000 | 0 | Included
Base works: compacted subgrade, geotextile, 100 mm WMM, 20 mm M-sand bedding, edges | 25 | m² | 363 | 9075 | 0 | 9075
GridMats OC-LW 40 structural base (100% recycled PP), 4 grids per m² | 25 | m² | 690 | 17250 | 0 | 17250
Walkable PV layer: 40 W solar modules under 12 mm toughened glass, 4 per m² | 25 | m² | 14933.3333 | 373333.3333 | 186666.6667 | 186666.6667 | Co-funded by GridMats
MLP lumber frame (40 × 40 mm) and module wiring | 25 | m² | 1440 | 36000 | 18000 | 18000 | Co-funded by GridMats
Electrical: inverter, DC/AC cabling, protection, earthing | 4000 | Wp | 6.6667 | 26666.6667 | 0 | 26666.6667
Logistics and freight | 462325 | ₹ | 5% | 23116.25 | 0 | 23116.25 | % of hardware
Grid integration and metering | 1 | lot | 25000 | 25000 | 0 | 25000
Installation labour | 25 | m² | 800 | 20000 | 0 | 20000 | Built by teams GridMats trains
GridMats supervision and training on site | 3 | days | 15000 | 45000 | 45000 | 0 | Included
Supervisor travel and stay | 1 | lot | 40000 | 40000 | 40000 | 0 | Included
IoT sensors, live dashboard and performance study | 1 | lot | 125000 | 125000 | 125000 | 0 | Included
Total (ex-GST) |  |  |  | 780441.25 | 454666.6667 | 325774.5833
GST on what the client pays |  |  | 8.9% |  |  | 28993.9379
Client pays, including GST | [5 empty] | 354768.5212
Summary
Physical installed cost of the pilot, list (hardware, logistics, integration, installation) | [5 empty] | 530441.25
Physical installed cost per sq ft (₹) | [5 empty] | 1971.1861
Physical installed cost per m² (₹) | [5 empty] | 21217.65
Physical installed cost per kWp (₹) | [5 empty] | 132610.3125
Client pays per sq ft, ex-GST (₹) | [5 empty] | 1210.6191
GridMats contribution as a share of list | [5 empty] | 58.26%
PV layer price per sq ft, pilot (₹) | [5 empty] | 1521.1339

## Pilot Economics
Pilot economics
Two views: on what the client actually pays (with GridMats co-funding), and on the full physical cost (no co-funding).
Client's pilot outlay, ex-GST (₹) | [6 empty] | 325774.5833
Full physical installed cost, ex-GST (₹) | [6 empty] | 530441.25
Year-1 generation (kWh) | [6 empty] | 5171.3563
O&M is charged on the physical installed cost in both views. GST is excluded on the assumption that the client claims input tax credit.
A. On the client's outlay (pilot offer)
Year | Degradation factor | Generation (kWh) | Tariff (₹/kWh) | Savings (₹) | O&M (₹) | Inverter (₹) | Net cash flow (₹) | Cumulative (₹) | Discount factor | Discounted CF (₹) | Cumulative discounted (₹)
0 | [6 empty] | -325774.5833 | -325774.5833 | 1 | -325774.5833 | -325774.5833
1 | 0.99 | 5119.6428 | 10 | 51196.4277 | -7956.6187 | 0 | 43239.809 | -282534.7743 | 0.90909 | 39308.9173 | -286465.6661
2 | 0.98406 | 5088.9249 | 10.3 | 52415.9267 | -7956.6187 | 0 | 44459.3079 | -238075.4664 | 0.82645 | 36743.2297 | -249722.4364
3 | 0.97816 | 5058.3914 | 10.609 | 53664.474 | -7956.6187 | 0 | 45707.8553 | -192367.6112 | 0.75131 | 34340.9882 | -215381.4482
4 | 0.97229 | 5028.041 | 10.9273 | 54942.7618 | -7956.6187 | 0 | 46986.143 | -145381.4681 | 0.68301 | 32092.1679 | -183289.2803
5 | 0.96645 | 4997.8728 | 11.2551 | 56251.4984 | -7956.6187 | 0 | 48294.8796 | -97086.5885 | 0.62092 | 29987.3206 | -153301.9597
6 | 0.96065 | 4967.8855 | 11.5927 | 57591.4091 | -7956.6187 | 0 | 49634.7903 | -47451.7981 | 0.56447 | 28017.5452 | -125284.4146
7 | 0.95489 | 4938.0782 | 11.9405 | 58963.2364 | -7956.6187 | 0 | 51006.6177 | 3554.8195 | 0.51316 | 26174.46 | -99109.9546
8 | 0.94916 | 4908.4498 | 12.2987 | 60367.7407 | -7956.6187 | 0 | 52411.122 | 55965.9415 | 0.46651 | 24450.1752 | -74659.7794
9 | 0.94347 | 4878.9991 | 12.6677 | 61805.7003 | -7956.6187 | 0 | 53849.0816 | 109815.0231 | 0.4241 | 22837.2672 | -51822.5122
10 | 0.93781 | 4849.7251 | 13.0477 | 63277.9121 | -7956.6187 | 0 | 55321.2933 | 165136.3164 | 0.38554 | 21328.7534 | -30493.7587
11 | 0.93218 | 4820.6267 | 13.4392 | 64785.192 | -7956.6187 | 0 | 56828.5732 | 221964.8897 | 0.35049 | 19918.0682 | -10575.6905
12 | 0.92659 | 4791.703 | 13.8423 | 66328.3752 | -7956.6187 | -16000 | 42371.7565 | 264336.6462 | 0.31863 | 13500.9474 | 2925.2569
13 | 0.92103 | 4762.9527 | 14.2576 | 67908.3171 | -7956.6187 | 0 | 59951.6984 | 324288.3445 | 0.28966 | 17365.8715 | 20291.1284
14 | 0.9155 | 4734.375 | 14.6853 | 69525.8933 | -7956.6187 | 0 | 61569.2745 | 385857.619 | 0.26333 | 16213.1143 | 36504.2427
15 | 0.91001 | 4705.9688 | 15.1259 | 71182 | -7956.6187 | 0 | 63225.3813 | 449083.0003 | 0.23939 | 15135.6536 | 51639.8963
16 | 0.90455 | 4677.733 | 15.5797 | 72877.5553 | -7956.6187 | 0 | 64920.9365 | 514003.9368 | 0.21763 | 14128.6873 | 65768.5836
17 | 0.89912 | 4649.6666 | 16.0471 | 74613.4986 | -7956.6187 | 0 | 66656.8799 | 580660.8167 | 0.19784 | 13187.7083 | 78956.2919
18 | 0.89372 | 4621.7686 | 16.5285 | 76390.7922 | -7956.6187 | 0 | 68434.1734 | 649094.9901 | 0.17986 | 12308.4876 | 91264.7796
19 | 0.88836 | 4594.0379 | 17.0243 | 78210.4208 | -7956.6187 | 0 | 70253.8021 | 719348.7922 | 0.16351 | 11487.058 | 102751.8376
20 | 0.88303 | 4566.4737 | 17.5351 | 80073.3931 | -7956.6187 | 0 | 72116.7743 | 791465.5665 | 0.14864 | 10719.699 | 113471.5366
Results: client's outlay
Year-1 generation (kWh) |  |  |  | 5119.6428
Year-1 savings (₹) |  |  |  | 51196.4277
Year-1 O&M (₹) |  |  |  | 7956.6187
Simple payback (years) |  |  |  | 6.9303
Discounted payback (years) |  |  |  | 11.7833
NPV over 20 years (₹) |  |  |  | 113471.5366
IRR over 20 years |  |  |  | 14.36%
20-year net cash (₹) |  |  |  | 791465.5665
Return on investment over 20 years (×) |  |  |  | 2.4295
B. On the full physical installed cost (no co-funding)
Year | Degradation factor | Generation (kWh) | Tariff (₹/kWh) | Savings (₹) | O&M (₹) | Inverter (₹) | Net cash flow (₹) | Cumulative (₹) | Discount factor | Discounted CF (₹) | Cumulative discounted (₹)
0 | [6 empty] | -530441.25 | -530441.25 | 1 | -530441.25 | -530441.25
1 | 0.99 | 5119.6428 | 10 | 51196.4277 | -7956.6187 | 0 | 43239.809 | -487201.441 | 0.90909 | 39308.9173 | -491132.3327
2 | 0.98406 | 5088.9249 | 10.3 | 52415.9267 | -7956.6187 | 0 | 44459.3079 | -442742.1331 | 0.82645 | 36743.2297 | -454389.1031
3 | 0.97816 | 5058.3914 | 10.609 | 53664.474 | -7956.6187 | 0 | 45707.8553 | -397034.2778 | 0.75131 | 34340.9882 | -420048.1149
4 | 0.97229 | 5028.041 | 10.9273 | 54942.7618 | -7956.6187 | 0 | 46986.143 | -350048.1348 | 0.68301 | 32092.1679 | -387955.947
5 | 0.96645 | 4997.8728 | 11.2551 | 56251.4984 | -7956.6187 | 0 | 48294.8796 | -301753.2551 | 0.62092 | 29987.3206 | -357968.6264
6 | 0.96065 | 4967.8855 | 11.5927 | 57591.4091 | -7956.6187 | 0 | 49634.7903 | -252118.4648 | 0.56447 | 28017.5452 | -329951.0812
7 | 0.95489 | 4938.0782 | 11.9405 | 58963.2364 | -7956.6187 | 0 | 51006.6177 | -201111.8471 | 0.51316 | 26174.46 | -303776.6213
8 | 0.94916 | 4908.4498 | 12.2987 | 60367.7407 | -7956.6187 | 0 | 52411.122 | -148700.7251 | 0.46651 | 24450.1752 | -279326.4461
9 | 0.94347 | 4878.9991 | 12.6677 | 61805.7003 | -7956.6187 | 0 | 53849.0816 | -94851.6436 | 0.4241 | 22837.2672 | -256489.1788
10 | 0.93781 | 4849.7251 | 13.0477 | 63277.9121 | -7956.6187 | 0 | 55321.2933 | -39530.3502 | 0.38554 | 21328.7534 | -235160.4254
11 | 0.93218 | 4820.6267 | 13.4392 | 64785.192 | -7956.6187 | 0 | 56828.5732 | 17298.223 | 0.35049 | 19918.0682 | -215242.3572
12 | 0.92659 | 4791.703 | 13.8423 | 66328.3752 | -7956.6187 | -16000 | 42371.7565 | 59669.9795 | 0.31863 | 13500.9474 | -201741.4098
13 | 0.92103 | 4762.9527 | 14.2576 | 67908.3171 | -7956.6187 | 0 | 59951.6984 | 119621.6779 | 0.28966 | 17365.8715 | -184375.5382
14 | 0.9155 | 4734.375 | 14.6853 | 69525.8933 | -7956.6187 | 0 | 61569.2745 | 181190.9524 | 0.26333 | 16213.1143 | -168162.424
15 | 0.91001 | 4705.9688 | 15.1259 | 71182 | -7956.6187 | 0 | 63225.3813 | 244416.3336 | 0.23939 | 15135.6536 | -153026.7704
16 | 0.90455 | 4677.733 | 15.5797 | 72877.5553 | -7956.6187 | 0 | 64920.9365 | 309337.2702 | 0.21763 | 14128.6873 | -138898.083
17 | 0.89912 | 4649.6666 | 16.0471 | 74613.4986 | -7956.6187 | 0 | 66656.8799 | 375994.15 | 0.19784 | 13187.7083 | -125710.3747
18 | 0.89372 | 4621.7686 | 16.5285 | 76390.7922 | -7956.6187 | 0 | 68434.1734 | 444428.3235 | 0.17986 | 12308.4876 | -113401.8871
19 | 0.88836 | 4594.0379 | 17.0243 | 78210.4208 | -7956.6187 | 0 | 70253.8021 | 514682.1256 | 0.16351 | 11487.058 | -101914.8291
20 | 0.88303 | 4566.4737 | 17.5351 | 80073.3931 | -7956.6187 | 0 | 72116.7743 | 586798.8999 | 0.14864 | 10719.699 | -91195.1301
Results: full physical cost
Year-1 generation (kWh) |  |  |  | 5119.6428
Year-1 savings (₹) |  |  |  | 51196.4277
Year-1 O&M (₹) |  |  |  | 7956.6187
Simple payback (years) |  |  |  | 10.6956
Discounted payback (years) |  |  |  | > 20
NPV over 20 years (₹) |  |  |  | -91195.1301
IRR over 20 years |  |  |  | 7.612%
20-year net cash (₹) |  |  |  | 586798.8999
Return on investment over 20 years (×) |  |  |  | 1.1062

## Rollout Economics
Rollout economics: campus walkway at rollout prices
Uses the campus rollout area from 'Client'. No co-funding at rollout.
Installed cost per m² at the rollout area
Rollout area (m²) | [6 empty] | 1000
Rated power (kWp) | [6 empty] | 160
Base works (₹/m²) | [6 empty] | 363
GridMats OC-LW 40 at this area (₹/m²) | [6 empty] | 650
Walkable PV layer (₹/m²) | [6 empty] | 15984
Electrical BOS (₹/m²) | [6 empty] | 1152
Logistics (₹/m²) | [6 empty] | 907.45
Grid integration (₹/m²) | [6 empty] | 100
Installation (₹/m²) | [6 empty] | 864
Installed cost (₹/m²) | [6 empty] | 20020.45
Installed cost (₹/sq ft) | [6 empty] | 1859.9625
Less: walkway it replaces (₹/m², new build only) | [6 empty] | 1200
Net extra cost for a generating walkway (₹/m²) | [6 empty] | 18820.45
Total installed cost (₹) | [6 empty] | 20020450
Net investment after walkway credit (₹) | [6 empty] | 18820450
Year-1 generation (kWh) | [6 empty] | 206854.2535
Installed cost per kWp, solar part (₹) | [6 empty] | 113396.5625
Year | Degradation factor | Generation (kWh) | Tariff (₹/kWh) | Savings (₹) | O&M (₹) | Inverter (₹) | Net cash flow (₹) | Cumulative (₹) | Discount factor | Discounted CF (₹) | Cumulative discounted (₹)
0 | [6 empty] | -18820450 | -18820450 | 1 | -18820450 | -18820450
1 | 0.99 | 204785.711 | 10 | 2047857.1098 | -300306.75 | 0 | 1747550.3598 | -17072899.6402 | 0.90909 | 1588682.1453 | -17231767.8547
2 | 0.98406 | 203556.9967 | 10.3 | 2096637.0662 | -300306.75 | 0 | 1796330.3162 | -15276569.324 | 0.82645 | 1484570.5093 | -15747197.3454
3 | 0.97816 | 202335.6547 | 10.609 | 2146578.9611 | -300306.75 | 0 | 1846272.2111 | -13430297.1128 | 0.75131 | 1387131.6387 | -14360065.7067
4 | 0.97229 | 201121.6408 | 10.9273 | 2197710.472 | -300306.75 | 0 | 1897403.722 | -11532893.3909 | 0.68301 | 1295952.2724 | -13064113.4344
5 | 0.96645 | 199914.911 | 11.2551 | 2250059.9354 | -300306.75 | 0 | 1949753.1854 | -9583140.2055 | 0.62092 | 1210643.3275 | -11853470.1068
6 | 0.96065 | 198715.4215 | 11.5927 | 2303656.3631 | -300306.75 | 0 | 2003349.6131 | -7579790.5924 | 0.56447 | 1130838.6294 | -10722631.4775
7 | 0.95489 | 197523.129 | 11.9405 | 2358529.4576 | -300306.75 | 0 | 2058222.7076 | -5521567.8847 | 0.51316 | 1056193.6916 | -9666437.7859
8 | 0.94916 | 196337.9902 | 12.2987 | 2414709.6293 | -300306.75 | 0 | 2114402.8793 | -3407165.0054 | 0.46651 | 986384.5479 | -8680053.238
9 | 0.94347 | 195159.9623 | 12.6677 | 2472228.0127 | -300306.75 | 0 | 2171921.2627 | -1235243.7427 | 0.4241 | 921106.6348 | -7758946.6032
10 | 0.93781 | 193989.0025 | 13.0477 | 2531116.484 | -300306.75 | 0 | 2230809.734 | 995565.9912 | 0.38554 | 860073.7229 | -6898872.8803
11 | 0.93218 | 192825.0685 | 13.4392 | 2591407.6786 | -300306.75 | 0 | 2291100.9286 | 3286666.9198 | 0.35049 | 803016.8986 | -6095855.9817
12 | 0.92659 | 191668.1181 | 13.8423 | 2653135.0095 | -300306.75 | -640000 | 1712828.2595 | 4999495.1793 | 0.31863 | 545759.8689 | -5550096.1128
13 | 0.92103 | 190518.1093 | 14.2576 | 2716332.6854 | -300306.75 | 0 | 2416025.9354 | 7415521.1148 | 0.28966 | 699836.654 | -4850259.4587
14 | 0.9155 | 189375.0007 | 14.6853 | 2781035.73 | -300306.75 | 0 | 2480728.98 | 9896250.0948 | 0.26333 | 653253.4739 | -4197005.9848
15 | 0.91001 | 188238.7507 | 15.1259 | 2847280.0011 | -300306.75 | 0 | 2546973.2511 | 12443223.3459 | 0.23939 | 609725.1463 | -3587280.8386
16 | 0.90455 | 187109.3182 | 15.5797 | 2915102.2107 | -300306.75 | 0 | 2614795.4607 | 15058018.8066 | 0.21763 | 569055.6764 | -3018225.1622
17 | 0.89912 | 185986.6623 | 16.0471 | 2984539.9454 | -300306.75 | 0 | 2684233.1954 | 17742252.002 | 0.19784 | 531061.2278 | -2487163.9344
18 | 0.89372 | 184870.7423 | 16.5285 | 3055631.6869 | -300306.75 | 0 | 2755324.9369 | 20497576.9388 | 0.17986 | 495569.409 | -1991594.5255
19 | 0.88836 | 183761.5178 | 17.0243 | 3128416.8337 | -300306.75 | 0 | 2828110.0837 | 23325687.0225 | 0.16351 | 462418.5976 | -1529175.9278
20 | 0.88303 | 182658.9487 | 17.5351 | 3202935.7226 | -300306.75 | 0 | 2902628.9726 | 26228315.9951 | 0.14864 | 431457.3013 | -1097718.6265
Results: campus rollout
Year-1 generation (kWh) |  |  |  | 204785.711
Year-1 savings (₹) |  |  |  | 2047857.1098
Year-1 O&M (₹) |  |  |  | 300306.75
Simple payback (years) |  |  |  | 9.5537
Discounted payback (years) |  |  |  | > 20
NPV over 20 years (₹) |  |  |  | -1097718.6265
IRR over 20 years |  |  |  | 9.212%
20-year net cash (₹) |  |  |  | 26228315.9951
Return on investment over 20 years (×) |  |  |  | 1.3936
After-tax view with 40% accelerated depreciation on the solar part
Year | Opening WDV (₹) | Depreciation (₹) | Tax shield (₹) | After-tax cash flow (₹)
0 | 0 | 0 | 0 | -18820450
1 | 18143450 | 7257380 | 1826682.546 | 3134374.4803
2 | 10886070 | 4354428 | 1096009.5276 | 2440203.5032
3 | 6531642 | 2612656.8 | 657605.7166 | 2039171.2121
4 | 3918985.2 | 1567594.08 | 394563.4299 | 1814390.6351
5 | 2351391.12 | 940556.448 | 236738.058 | 1695738.3666
6 | 1410834.672 | 564333.8688 | 142042.8348 | 1641149.3502
7 | 846500.8032 | 338600.3213 | 85225.7009 | 1625393.753
8 | 507900.4819 | 203160.1928 | 51135.4205 | 1633343.0951
9 | 304740.2892 | 121896.1157 | 30681.2523 | 1655929.9332
10 | 182844.1735 | 73137.6694 | 18408.7514 | 1687723.6753
11 | 109706.5041 | 43882.6016 | 11045.2508 | 1725476.0757
12 | 65823.9025 | 26329.561 | 6627.1505 | 1288336.5371
13 | 39494.3415 | 15797.7366 | 3976.2903 | 1811888.4978
14 | 23696.6049 | 9478.642 | 2385.7742 | 1858715.2699
15 | 14217.9629 | 5687.1852 | 1431.4645 | 1907331.5483
16 | 8530.7778 | 3412.3111 | 858.8787 | 1957510.322
17 | 5118.4667 | 2047.3867 | 515.3272 | 2009127.0273
18 | 3071.08 | 1228.432 | 309.1963 | 2062118.8466
19 | 1842.648 | 737.0592 | 185.5178 | 2116460.2934
20 | 1105.5888 | 442.2355 | 111.3107 | 2172148.5709
After-tax IRR |  |  |  | 8.376%
Levelised cost of the walkway's power (₹/kWh) |  |  |  | 12.4627

## Comparison
How it compares on the same footprint
Rollout area from 'Client'. A replaces a walkway and generates; D is the business-as-usual pair it should be compared with.
Metric | A. GridMats Solar Walkway | B. Rooftop solar | C. Solar carport | D. Paver walkway + rooftop | Year | PVF walkway | PVF rooftop
[5 empty] | 1 | 0.9 | 0.9
Footprint (m²) | 1000 | 1000 | 1000 | 1000 | 2 | 0.83767 | 0.83936
Installed capacity (kWp) | 160 | 190 | 190 | 190 | 3 | 0.77966 | 0.7828
Total capex (₹) | 20020450 | 7600000 | 11590000 | 8800000 | 4 | 0.72566 | 0.73005
Capex per kWp (₹) | 125127.8125 | 40000 | 61000 | 46315.7895 | 5 | 0.67541 | 0.68086
Year-1 generation (kWh) | 206854.2535 | 275622.36 | 275622.36 | 275622.36 | 6 | 0.62863 | 0.63498
Year-1 savings (₹) | 2068542.5352 | 2756223.6 | 2756223.6 | 2756223.6 | 7 | 0.5851 | 0.5922
Year-1 O&M (₹) | 300306.75 | 76000 | 139080 | 100000 | 8 | 0.54458 | 0.55229
Simple payback on year-1 figures (years) | 11.3223 | 2.8356 | 4.4285 | 3.313 | 9 | 0.50686 | 0.51508
NPV over 20 years (₹) | -2093794.9032 | 19445036.6477 | 14918001.0483 | 18040711.1184 | 10 | 0.47176 | 0.48037
Provides a walking surface | Yes | No | Shade, not a walkway | Yes | 11 | 0.43909 | 0.448
Needs roof or extra structure | No | Roof | Steel canopy and footings | Roof | 12 | 0.40868 | 0.41782
Recycled plastic in the structure (t) | 4 | 0 | 0 | 0 | 13 | 0.38038 | 0.38966
[5 empty] | 14 | 0.35403 | 0.36341
Rooftop and carport figures are the earlier ROI model's benchmarks. Rooftop is cheaper per kWp; the walkway earns its place where roofs are full, shaded or carry plant, and where a walkway is being built or relaid anyway (compare A with D). |  |  |  |  | 15 | 0.32952 | 0.33892
[5 empty] | 16 | 0.30669 | 0.31608
[5 empty] | 17 | 0.28545 | 0.29478
[5 empty] | 18 | 0.26569 | 0.27492
[5 empty] | 19 | 0.24729 | 0.2564
[5 empty] | 20 | 0.23016 | 0.23912
[5 empty] | Σ | 9.9023 | 10.0471
[5 empty] | Annuity | 8.5136

## Sensitivity
Sensitivity: rollout payback (years)
Simple payback on year-1 figures for the campus rollout. Each table varies two inputs and keeps the rest.
Power price × performance ratio
₹ / kWh ↓ / Performance ratio → | 60% | 65% | 70% | 75% | 80%
8 | 17.8122 | 16.0903 | 14.6719 | 13.4833 | 12.4729
9 | 15.3484 | 13.9058 | 12.711 | 11.7054 | 10.8472
10 | 13.4833 | 12.2435 | 11.2125 | 10.3417 | 9.5963
11 | 12.0224 | 10.9362 | 10.0301 | 9.2626 | 8.6042
12 | 10.8472 | 9.8812 | 9.0732 | 8.3874 | 7.7979
13 | 9.8812 | 9.0118 | 8.283 | 7.6633 | 7.1299
14 | 9.0732 | 8.283 | 7.6195 | 7.0543 | 6.5672
Power price × change in the rollout PV-layer price
₹ / kWh ↓ / PV-layer price change → | -40% | -30% | -20% | -10% | 0%
8 | 8.3198 | 9.6399 | 11.0072 | 12.4245 | 13.8945
9 | 7.2843 | 8.4217 | 9.5945 | 10.8046 | 12.0537
10 | 6.4781 | 7.4768 | 8.5032 | 9.5584 | 10.6436
11 | 5.8326 | 6.7226 | 7.6348 | 8.5699 | 9.5289
12 | 5.304 | 6.1066 | 6.9273 | 7.7667 | 8.6255
13 | 4.8633 | 5.594 | 6.3398 | 7.1012 | 7.8786
14 | 4.4902 | 5.1608 | 5.8442 | 6.5407 | 7.2508
Pilot payback on the client's outlay × GridMats co-funding
Co-funding of the PV layer → | 0% | 25% | 50% | 75%
Simple payback (years) | 12.2674 | 9.9008 | 7.5341 | 5.1675
Shading: green ≤ 6 years, amber 6-9 years, red above 9 years (applied in Excel with conditional formatting).

## Scale-up
Scale-up: from pilot to campus
Year-1 figures. Pilot uses pilot prices; later phases use the rollout prices for their area.
Measure | Pilot | Phase 2 | Campus | Portfolio | Note
Area (m²) | 25 | 250 | 1000 | 5000
Rated power (kWp) | 4 | 40 | 160 | 800
Generation, year 1 (MWh) | 5.1714 | 51.7136 | 206.8543 | 1034.2713
Electricity saved, year 1 (₹ lakh) | 0.51714 | 5.1714 | 20.6854 | 103.4271
CO2 avoided per year (t) | 3.6717 | 36.7166 | 146.8665 | 734.3326
Installed cost per m² (₹) | 21217.65 | 20317.65 | 20020.45 | 19937.45
Installed cost (₹ lakh) | 5.3044 | 50.7941 | 200.2045 | 996.8725
Net of walkway credit (₹ lakh) | 5.0044 | 47.7941 | 188.2045 | 936.8725
Simple payback on full cost (years) | 11.4368 | 10.839 | 10.6436 | 10.5892 | Pilot column shows full physical cost, before co-funding.
Recycled PP in the base (t) | 0.1 | 1 | 4 | 20

## Scorecard
Pilot scorecard: measured, not assumed
Agreed with the client before installation; filled in at the evaluation review.
KPI | Target / benchmark | How it is measured | Measured result | Weight | Score (1-5) | Notes
Energy generation vs estimate | ≥ 90% of the model's monthly estimate | Energy meter and logger, monthly |  | 20%
Performance ratio achieved | ≥ PR used in the model | Generation ÷ (reference-cell irradiation × kWp) |  | 10%
Pedestrian and maintenance-cart load | 4 kN/m² uniform and 4.5 kN point load (IS 875 Part 2); no cracking or movement | Load test at handover; inspection |  | 15%
Surface temperature (peak) | Within module specification | Module-temperature sensors |  | 5%
Slip resistance and walking comfort | R11 (DIN 51130) or wet pendulum PTV ≥ 36 | Pendulum test wet and dry; user feedback |  | 10%
Drainage and water ingress | No ponding, no ingress | Inspection after heavy rain |  | 10%
Electrical uptime | ≥ 98% | Logger availability data |  | 10%
Cleaning and maintenance effort | Within O&M assumption | Cleaning log |  | 5%
Module survival and repairability | No irreparable failures | Replacement log |  | 10%
Visual finish and user acceptance | Client acceptance | Facilities and user survey |  | 5%
Weight total (must be 100%) |  |  |  | 100%
Weighted score (out of 5) |  |  |  |  | 0
KPIs and weights from the earlier GridMats Solar Walkway ROI model (Reliance / Jio R&D pilot). Fill in columns D and F at the review.

## Sources & Notes
Sources and notes
Where every number comes from, and what changed from earlier GridMats calculations.
Changes from earlier GridMats Solar Walkway calculations
Item | Earlier value (file) | This model | Why
Rated power of the walkway | 126 W/m² (ROI model: 580 × 450 mm, 82% coverage); 110 W/m² (2025 decks, flier to 6 Oct) | 160 W/m² | MD correction, 6 Oct 2026: 40 W module on each grid, 4 per m².
PV layer price | ₹2,500/m² (ROI model input cell); ₹9,500/m² quote; ₹8,000-9,000/m² range (Jul 2026) | Built up from actual unit costs | GridMats' actual material cost is ₹3,075 per 40 W piece (₹12,300/m²), above the old ₹9,500/m² quote. Price now = cost + wiring, inverter, labour, management and margin ('Cost Build-up').
Structural base | GridMats HD ₹1,200/m² (ROI model) | OC-LW 40 at ₹690/m² (under 1,000 m²) | Published price ladder (25 Sep 2026); actual cost ₹125 per grid (₹500/m²). The module sits on the 500 × 500 mm grid.
Performance ratio | 78% | About 73% base (seven-loss stack) | Flat, walk-on modules run hotter and collect more dust than tilted rooftop panels.
GST | 13.8% composite | 8.9% composite (confirm) | GST on solar goods cut from 12% to 5% from 22 Sep 2025.
Power price | ₹9/kWh placeholder | Client sheet | Use the landed rate from the site's electricity bill.
Cost calculator (Apr 2025) | ₹6,540-7,800/m² at 80-111 W/m²; ₹70-84/W | Superseded | Lower power density and older module; kept for reference.
Cell technology and losses | Not modelled; flat 78% PR, 0.5%/yr | TOPCon (n-type) library; PR built from seven losses | Latest TOPCon data: −0.29%/°C, 1% then 0.4%/yr; heat and dust matter more on a flat walkway.
Sources
GridMats Solar Walkway flier (6 Oct 2026) |  |  | Design basis: 40 W per module, 4 per m², ~160 W/m², 15-16% surface efficiency; pilot method; status.
GridMats Solar Walkway Client/Partner Deck v2 |  |  | Construction (PV layer, 40 × 40 mm MLP lumber, GridMats base), 550 × 400 mm module, pilot pathway.
GridMats Solar Walkway ROI Comparison Model (Reliance / Jio R&D pilot) |  |  | Cost stack, rooftop and carport benchmarks, O&M, pilot objectives and scorecard.
GridMats Solar cost calculator (Apr 2025) |  |  | Earlier module, MLP and labour costs; superseded.
GridMats actual unit costs per 40 W piece (7 Oct 2026) |  |  | Module ₹1,200, glass ₹1,600, GridMats grid ₹125, MLP lumber ₹150. Excludes margin, labour, wiring, inverter and management.
GridMats price ladder (25 Sep 2026); Design Engine 73 unit rates |  |  | OC-LW 40 prices; base-works rates.
GridMats financials (Jul 2026) |  |  | Solar walkway pricing range ₹8,000-9,000/m².
CEA CO2 Baseline Database v21.0 |  |  | Grid emission factor 0.710 t CO2/MWh.
Income-tax Act; GST Council (Sep 2025), Notification 9/2025-CT(R); Gujarat AAR GUJ/GAAR/R/2024/01 |  |  | 40% WDV depreciation; 5% GST on solar goods; ITC on captive solar.
pv-magazine (25 Feb 2026); taiyangnews; JMK Research (Apr 2026); manufacturer datasheets |  |  | TOPCon cell and module efficiency, temperature coefficient, degradation and price.
MERC order, Case 75 of 2025 (25 Mar 2026); MSEDCL circulars |  |  | HT tariffs, solar-hour ToD rebate, electricity duty.
NASA-derived Navi Mumbai climatology; Meteonorm 8.2 (ICADMSES 2026) |  |  | Mumbai sunshine calibration.
IS 875 (Part 2); DIN 51130; BS 7976-2; IS 14286 and IS/IEC 61730 (BIS) |  |  | Load, slip-resistance and module-registration targets.
Status: the GridMats Solar Walkway is pre-commercial; pilot validation is under way and no commercial deployment is claimed. Yield, life and upkeep are estimates the pilot measures.